# Object :

# Patch-clamp and Mesophyll protoplasts isolation from Nicotiana benthamiana leaves

# Mailing list

BPMP, users of EHEV platform

- Reference/contact persons

Alexis De Angeli

# Health and safety

Use forceps to remove pipettes/capillaries from pullers.

Weigh harmful chemicals under a dedicated hood, wearing gloves

Physical risk:

- Pulling of capillaries = cuts, burns

=> Wait for cooling down or use the forceps to remove them from pullers.

- voltage-clamp = postural and visual stress because of micromanipulation under the binocular magnifier => pause every hour

Chemical risks:

Numerous chemical risks

=> weigh harmful chemicals under a dedicated hood, wearing gloves

=> prepare the solutions under a fume cupboard, and wear gloves (nitrile) during handling

Check possible chemical risks with inhibitors !

- Operating mode

- Plants are grown in chamber number 1: 6 – 22h, 150µm LED

- Leaves of Nicotiana benthamiana are transformed by agrobacterium infiltration. 3 days after agro-infiltration transformed leaves are used to obtain mesophyll protoplasts.

- 4 – 5 weeks old tobacco plants are used for Agro-infiltration

- Put 3 ml of the enzyme solution a small petri dish.

Enzymatic solution :

0.5 % Cellulase R-10

0.05 % Macerozyme R-10

1 mM CaCl2

10 mM MES

pH = 5.3 / KOH

π = 550 mOsm /D-Sorbitol

After preparation enzyme solution should be splitted into 1.5 ml aliquots and keep frozen at -20°C.

From the moment when enzymes are added to the solution, solution should be keep in ice.

- Cut one, transformed leaf of tobacco plants

- Remove epidermis from the adaxial part the leaf using sand paper, carefully to avoid  damaging mesophyll cells

- Place leaf in the petri dish in enzymatic solution – adaxial part of the leave need to be in contact with solution. For higher isolation efficiency leaf can be cut in pieces

- Cover petri dish with parafilm and place it in the oven - 30℃, 30 min – 1 h, without shaking

- After enzyme digestion gently shake the petri dish to release protoplasts

- Gently Take all solution with pipette p1000 and place it in 2 mL Eppendorf – slowly and gently (the tip should be cutted)

- Place Eppendorf in a holder on ice and let protoplasts precipitate for 15 – 30 min

- After precipitation remove 1 ml of the solution and add 1ml of the wash solution to the Eppendorf. Do not mix eppendorf content via pipetting.

Wash solution:

1 mM CaCl2

10 mM MES

pH = 5.3 / KOH

π = 550 mOsm /D-Sorbitol

- Place Eppendorf in ice (without any holder) and let protoplasts precipitate for 15 – 30 min

- After precipitation remove 1 ml of the solution and add 1ml of the wash solution to the Eppendorf. Do not mix eppendorf content via pipetting. Keep protoplasts in ice untill they will be used for patch-clamp experiments.

- To release vacuoles:
put 50 µl of the protoplasts to the patch-clamp chamber

Add 250 µl lysis buffer

Wait till you will see first vacuole

Wash out lysis buffer with bath solution via perfusion system.

Lysis buffer:

5 mM EDTA

10 mM MES

pH = 5.3 / KOH

π = 500 mOsm

- Microscopic currents are record in outside – out configuration using patch clamp electrodes prepared from borosilicate thin-wall capillaries (30-0062, Harvard Apparatus). Internal side of the capillaries used for electrode preparation is cover with SigmaCote

- Tip of the patch-clamp electrode is covered with Sylgard

- Electrodes have resistance 4 – 6 MΩ, but actually electrode resistance depends from the ionic composition of bath and pipette solution, so you cannot take it as a stable value

- Currents are record with USB EPC10 patch clamp amplifier (HEKA Electronic; http://www.heka.com/) and digitized with an ITC‐16 computer interface (Instrutech Corp., Elmont, NY, USA).

- Data acquisition and offline analysis are perform using the software programs Patch Master (HEKA Electronik, Lambrecht, Germany) and IgorPro (Wave Metrics Inc., Lake Oswego, OR, USA)